# FORCIPOL 102

### Grinding and Polishing Machine

Single wheel, suitable for 200, 250 and 300 mm wheel size, 0.75 kW motor with overload protection, variable speed between 50-600 rpm, clockwise or counterclockwise rotation, soft start and stop function, vibration-free and robust construction, ergonomic design, quite operation, standard interface for all head units (FORCIPOL Control Unit and FORCIMAT 52/102/TS), retractable water hose, including water supply and drain tubes. (One of the Head Units is required to operate the equipment)

Includes a standard set of grinding & polishing consumables;
*An assortment of 100 grinding papers(various grits), 200 mm dia.
*An assortment of 5 polishing cloths with 200 mm dia.
*Diamond suspensions, one of each of 6 mic. and 1 mic., plus lubricant

## Technical Specifications

| ORDER NO | 36 21-200/250/300 |
| --- | --- |
| MODEL NO | FORCIPOL 102 |
| Number of Wheels | 1 |
| Wheel Diameter | Ø200/250/300 mm |
| Base Motor Power | 1 HP |
| Wheel Speed | 50-600 RPM |
| Wheel Rotation Direction | CW/CCW |
| Dimensions, WxDxH, (cm) | 45 x 74 x 34 |
| Weight, kgs | 40 |

## Accessories

| Head Units |  |
| --- | --- |
| 30 11 | FORCIPOL Control Unit |
| 30 12 | FORCIMAT 52 Automatic Specimen Mover (Individual Force) |
| 30 14 | FORCIMAT 102 Programmable Automatic Specimen Mover (Individual Force + Central Force) |
| Operational Accessories for FORCIPOL Grinder/Polishers |  |
| 200 mm Application |  |
| 31 01 | PVC Wheel, 200 mm |
| 31 02 | Aluminium Wheel, 200 mm |
| 31 55 | Splash Guard, 200 mm |
| 31 04 | Paper Ring, 200 mm |
| 31 05 | Cover |
| 31 13 | Special Plexiglas Protection Unit, to be used with FORCIPOL 102/TS |
|  | (To be ordered simultaneously together with the machine order) |
| 250 mm Application |  |
| 31 21 | PVC Wheel, 250 mm |
| 31 42 | Aluminium Wheel, 250 mm |
| 31 65 | Splash Guard, 250 mm |
| 31 24 | Paper Ring, 250 mm |
| 31 05 | Cover |
| 31 13 | Special Plexiglas Protection Unit, to be used with FORCIPOL 102/TS |
|  | (To be ordered simultaneously together with the machine order) |
| 300 mm Application |  |
| 31 31 | PVC Wheel, 300 mm |
| 31 52 | Aluminium Wheel, 300 mm |
| 31 75 | Splash Guard, 300 mm |
| 31 34 | Paper Ring, 300 mm |
| 31 05 | Cover |
| 31 13 | Special Plexiglas Protection Unit, to be used with FORCIPOL 102/TS |
|  | (To be ordered simultaneously together with the machine order) |
| Accessories for FORCIPOL |  |
| GR 1397-00 | Water Filtering and Pressure Regulator System for city water inlet. |
|  | Keeps the water pressure at the appropriate level and protects from sudden |
|  | pressure spikes. Filtering out impurities in the water and prevents calcification. |
| YM 3824-00 | Spare Siliphos Cartridge Filter |
|  | (for Water Filtering and Pressure Regulator System (GR 1397-00)) |
| Spare Part Kit for FORCIPOL |  |
| GR 1991 | Recommended Set of Spare Parts, FORCIPOL 102/202/TS |
| ENVIRO Recirculating Filtering System |  |
| GR 0865 | ENVIRO Recirculating Filtering System, |
|  | Closed loop 1 micron filtering system with 20 lt. recirculating |
|  | water tank, suitable to operate with line water on 80 micron |
|  | filter as well. Requires 4 bar compressed air. |
|  | Ready for operation with all Metkon Grinder/Polishers |
| YM 6214-00 | Filter, 10 inches 1 Micron |
| Spare Part Kit for ENVIRO |  |
| GR 1996 | Recommended Set of Spare Parts, ENVIRO |

## Consumables

| Paper Grinding Discs, Plain Back (100 Pcs. Per Pack) |  |  |
| --- | --- | --- |
| DEMPAX | 38-020-060 | Ø 200 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX | 38-020-120 | Ø 200 mm Disc, 120 Grit |
| DEMPAX | 38-020-180 | Ø 200 mm Disc, 180 Grit |
| DEMPAX | 38-020-240 | Ø 200 mm Disc, 240 Grit |
| DEMPAX | 38-020-320 | Ø 200 mm Disc, 320 Grit |
| DEMPAX | 38-020-400 | Ø 200 mm Disc, 400 Grit |
| DEMPAX | 38-020-600 | Ø 200 mm Disc, 600 Grit |
| DEMPAX | 38-020-800 | Ø 200 mm Disc, 800 Grit |
| DEMPAX | 38-020-1000 | Ø 200 mm Disc, 1000 Grit |
| DEMPAX | 38-020-1200 | Ø 200 mm Disc, 1200 Grit |
| DEMPAX | 38-020-2500 | Ø 200 mm Disc, 2500 Grit |
| DEMPAX | 38-020-4000 | Ø 200 mm Disc, 4000 Grit |
| DEMPAX | 38-020-S | Ø 200 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| DEMPAX | 38-040-060 | Ø 250 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX | 38-040-120 | Ø 250 mm Disc, 120 Grit |
| DEMPAX | 38-040-180 | Ø 250 mm Disc, 180 Grit |
| DEMPAX | 38-040-240 | Ø 250 mm Disc, 240 Grit |
| DEMPAX | 38-040-320 | Ø 250 mm Disc, 320 Grit |
| DEMPAX | 38-040-400 | Ø 250 mm Disc, 400 Grit |
| DEMPAX | 38-040-600 | Ø 250 mm Disc, 600 Grit |
| DEMPAX | 38-040-800 | Ø 250 mm Disc, 800 Grit |
| DEMPAX | 38-040-1000 | Ø 250 mm Disc, 1000 Grit |
| DEMPAX | 38-040-1200 | Ø 250 mm Disc, 1200 Grit |
| DEMPAX | 38-040-2500 | Ø 250 mm Disc, 2500 Grit |
| DEMPAX | 38-040-4000 | Ø 250 mm Disc, 4000 Grit |
| DEMPAX | 38-040-S | Ø 250 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| DEMPAX | 38-050-060 | Ø 300 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX | 38-050-120 | Ø 300 mm Disc, 120 Grit |
| DEMPAX | 38-050-180 | Ø 300 mm Disc, 180 Grit |
| DEMPAX | 38-050-240 | Ø 300 mm Disc, 240 Grit |
| DEMPAX | 38-050-320 | Ø 300 mm Disc, 320 Grit |
| DEMPAX | 38-050-400 | Ø 300 mm Disc, 400 Grit |
| DEMPAX | 38-050-600 | Ø 300 mm Disc, 600 Grit |
| DEMPAX | 38-050-800 | Ø 300 mm Disc, 800 Grit |
| DEMPAX | 38-050-1000 | Ø 300 mm Disc, 1000 Grit |
| DEMPAX | 38-050-1200 | Ø 300 mm Disc, 1200 Grit |
| DEMPAX | 38-050-2500 | Ø 300 mm Disc, 2500 Grit |
| DEMPAX | 38-050-4000 | Ø 300 mm Disc, 4000 Grit |
| DEMPAX | 38-050-S | Ø 300 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| Paper Grinding Discs, Foil Back, for CATCHY System (100 Pcs. Per Pack) |  |  |
| DEMPAX-F | 38-020-060F | Ø 200 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX-F | 38-020-120F | Ø 200 mm Disc, 120 Grit |
| DEMPAX-F | 38-020-180F | Ø 200 mm Disc, 180 Grit |
| DEMPAX-F | 38-020-240F | Ø 200 mm Disc, 240 Grit |
| DEMPAX-F | 38-020-320F | Ø 200 mm Disc, 320 Grit |
| DEMPAX-F | 38-020-400F | Ø 200 mm Disc, 400 Grit |
| DEMPAX-F | 38-020-600F | Ø 200 mm Disc, 600 Grit |
| DEMPAX-F | 38-020-800F | Ø 200 mm Disc, 800 Grit |
| DEMPAX-F | 38-020-1000F | Ø 200 mm Disc, 1000 Grit |
| DEMPAX-F | 38-020-1200F | Ø 200 mm Disc, 1200 Grit |
| DEMPAX-F | 38-020-2500F | Ø 200 mm Disc, 2500 Grit |
| DEMPAX-F | 38-020-4000F | Ø 200 mm Disc, 4000 Grit |
| DEMPAX-F | 38-020-SF | Ø 200 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| DEMPAX-F | 38-040-060F | Ø 250 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX-F | 38-040-120F | Ø 250 mm Disc, 120 Grit |
| DEMPAX-F | 38-040-180F | Ø 250 mm Disc, 180 Grit |
| DEMPAX-F | 38-040-240F | Ø 250 mm Disc, 240 Grit |
| DEMPAX-F | 38-040-320F | Ø 250 mm Disc, 320 Grit |
| DEMPAX-F | 38-040-400F | Ø 250 mm Disc, 400 Grit |
| DEMPAX-F | 38-040-600F | Ø 250 mm Disc, 600 Grit |
| DEMPAX-F | 38-040-800F | Ø 250 mm Disc, 800 Grit |
| DEMPAX-F | 38-040-1000F | Ø 250 mm Disc, 1000 Grit |
| DEMPAX-F | 38-040-1200F | Ø 250 mm Disc, 1200 Grit |
| DEMPAX-F | 38-040-2500F | Ø 250 mm Disc, 2500 Grit |
| DEMPAX-F | 38-040-4000F | Ø 250 mm Disc, 4000 Grit |
| DEMPAX-F | 38-040-SF | Ø 250 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| DEMPAX-F | 38-050-060F | Ø 300 mm Disc, 60 Grit (2 x 50 pcs.) |
| DEMPAX-F | 38-050-120F | Ø 300 mm Disc, 120 Grit |
| DEMPAX-F | 38-050-180F | Ø 300 mm Disc, 180 Grit |
| DEMPAX-F | 38-050-240F | Ø 300 mm Disc, 240 Grit |
| DEMPAX-F | 38-050-320F | Ø 300 mm Disc, 320 Grit |
| DEMPAX-F | 38-050-400F | Ø 300 mm Disc, 400 Grit |
| DEMPAX-F | 38-050-600F | Ø 300 mm Disc, 600 Grit |
| DEMPAX-F | 38-050-800F | Ø 300 mm Disc, 800 Grit |
| DEMPAX-F | 38-050-1000F | Ø 300 mm Disc, 1000 Grit |
| DEMPAX-F | 38-050-1200F | Ø 300 mm Disc, 1200 Grit |
| DEMPAX-F | 38-050-2500F | Ø 300 mm Disc, 2500 Grit |
| DEMPAX-F | 38-050-4000F | Ø 300 mm Disc, 4000 Grit |
| DEMPAX-F | 38-050-SF | Ø 300 mm Mix Grinding Paper set (10 of each from 120 grit to 2500 grit) |
| CATCHY System Accessories (1 Pc. Per Pack) |  |  |
| CFP | 39-083-200 | Ø 200 mm, Catchy Fix Plate (1 pcs) |
| CFP | 39-083-250 | Ø 250 mm, Catchy Fix Plate (1 pcs) |
| CFP | 39-083-300 | Ø 300 mm, Catchy Fix Plate (1 pcs) |
| MAGNETO Diamond Coarse Grinding Discs (1 Pc. Per Pack) |  |  |
| MAGNETO 125 | 38-020-125 | Ø200 MAGNETO Diamond Disc, 125 mic. |
| MAGNETO 125 | 38-040-125 | Ø250 MAGNETO Diamond Disc, 125 mic. |
| MAGNETO 125 | 38-050-125 | Ø300 MAGNETO Diamond Disc, 125 mic. |
| MAGNETO 75 | 38-020-075 | Ø200 MAGNETO Diamond Disc, 75 mic. |
| MAGNETO 75 | 38-040-075 | Ø250 MAGNETO Diamond Disc, 75 mic. |
| MAGNETO 75 | 38-050-075 | Ø300 MAGNETO Diamond Disc, 75 mic. |
| MAGNETO 54 | 38-020-054 | Ø200 MAGNETO Diamond Disc, 54 mic. |
| MAGNETO 54 | 38-040-054 | Ø250 MAGNETO Diamond Disc, 54 mic. |
| MAGNETO 54 | 38-050-054 | Ø300 MAGNETO Diamond Disc, 54 mic. |
| MAGNETO 18 | 38-020-018 | Ø200 MAGNETO Diamond Disc, 18 mic. |
| MAGNETO 18 | 38-040-018 | Ø250 MAGNETO Diamond Disc, 18 mic. |
| MAGNETO 18 | 38-050-018 | Ø300 MAGNETO Diamond Disc, 18 mic. |
| MAGNETO Diamond Coarse Grinding Discs (1 Pc. Per Pack) |  |  |
| MAGNETO 6 | 38-020-006 | 'Ø200 MAGNETO Diamond Disc, 6 mic. |
| MAGNETO 6 | 38-040-006 | Ø250 MAGNETO Diamond Disc, 6 mic. |
| MAGNETO 6 | 38-050-006 | Ø300 MAGNETO Diamond Disc, 6 mic. |
| MAGNETO 3 | 38-020-003 | Ø200 MAGNETO Diamond Disc, 3 mic. |
| MAGNETO 3 | 38-040-003 | Ø250 MAGNETO Diamond Disc, 3 mic. |
| MAGNETO 3 | 38-050-003 | Ø300 MAGNETO Diamond Disc, 3 mic. |
| MAGNETO-S Silicon Carbide Grinding Discs (1 Pc. Per Pack) |  |  |
| MAGNETO-S-120 | 38-021-120 | Ø200 MAGNETO-S Silicon Carbide Grinding Disc, 120 Grit |
| MAGNETO-S-120 | 38-041-120 | Ø250 MAGNETO-S Silicon Carbide Grinding Disc, 120 Grit |
| MAGNETO-S-120 | 38-051-120 | Ø300 MAGNETO-S Silicon Carbide Grinding Disc, 120 Grit |
| MAGNETO-S-220 | 38-021-220 | Ø200 MAGNETO-S Silicon Carbide Grinding Disc, 220 Grit |
| MAGNETO-S-220 | 38-041-220 | Ø250 MAGNETO-S Silicon Carbide Grinding Disc, 220 Grit |
| MAGNETO-S-220 | 38-051-220 | Ø300 MAGNETO-S Silicon Carbide Grinding Disc, 220 Grit |
| MAGNETO-S-500 | 38-021-500 | Ø200 MAGNETO-S Silicon Carbide Grinding Disc, 500 Grit |
| MAGNETO-S-500 | 38-041-500 | Ø250 MAGNETO-S Silicon Carbide Grinding Disc, 500 Grit |
| MAGNETO-S-500 | 38-051-500 | Ø300 MAGNETO-S Silicon Carbide Grinding Disc, 500 Grit |
| MAGNETO-S-800 | 38-021-800 | Ø200 MAGNETO-S Silicon Carbide Grinding Disc, 800 Grit |
| MAGNETO-S-800 | 38-041-800 | Ø250 MAGNETO-S Silicon Carbide Grinding Disc, 800 Grit |
| MAGNETO-S-800 | 38-051-800 | Ø300 MAGNETO-S Silicon Carbide Grinding Disc, 800 Grit |
| MAGNETO-S-1200 | 38-021-1200 | Ø200 MAGNETO-S Silicon Carbide Grinding Disc, 1200 Grit |
| MAGNETO-S-1200 | 38-041-1200 | Ø250 MAGNETO-S Silicon Carbide Grinding Disc, 1200 Grit |
| MAGNETO-S-1200 | 38-051-1200 | Ø300 MAGNETO-S Silicon Carbide Grinding Disc, 1200 Grit |
| Magnetic System Accessories (1 Pc. Per Pack) |  |  |
| SMF | 39-003-200 | Ø 200 mm, Special Magnetic Foil |
| SMF | 39-003-250 | Ø 250 mm, Special Magnetic Foil |
| SMF | 39-003-300 | Ø 300 mm, Special Magnetic Foil |
| TMP | 39-093-200 | Ø 200 mm, Thin Metal Plate(5 pcs) |
| TMP | 39-093-250 | Ø 250 mm, Thin Metal Plate(5 pcs) |
| TMP | 39-093-300 | Ø 300 mm, Thin Metal Plate(5 pcs) |
| Polishing Cloths (Self-adhesive, 10 Pcs. Per Pack) |  |  |
| METAPO-P | 39-013-200 | Ø 200 mm, for 6 micron diamonds |
| METAPO-B | 39-033-200 | Ø 200 mm, for 3-1 micron diamonds |
| METAPO-V | 39-043-200 | Ø 200 mm, for 1-0,1 micron diamonds or alumina |
| FEDO-6J | 39-015-200 | Ø 200 mm, for 6 micron diamonds |
| FEDO-3 | 39-025-200 | Ø 200 mm, for 3 micron diamonds |
| FEDO-1S | 39-066-200 | Ø 200 mm, for 1 micron diamonds |
| FEDO-1N | 39-055-200 | Ø 200 mm, for 0,25 micron diamonds |
| ALSO | 39-075-200 | Ø 200 mm, for 0,25 mic. diamonds or alumina |
| WOOL | 39-095-200 | Ø 200 mm, %100 wool cloth for 6-3 micron diamonds or alumina |
| COLLO | 39-085-200 | Ø 200 mm, for colloidal silica |
| PETRI | 39-090-200 | Ø 200 mm, for petrography |
| NOWO | 39-005-200 | Ø 200 mm, for 9-1 micron diamonds |
| MIX | 39-200-SPC | Ø 200 mm, (1 of each METAPO-P, METAPO-B, FEDO-3, FEDO-1S, FEDO-1N) |
| METAPO-P | 39-013-250 | Ø 250 mm, for 6 micron diamonds |
| METAPO-B | 39-033-250 | Ø 250 mm, for 3-1 micron diamonds |
| METAPO-V | 39-043-250 | Ø 250 mm, for 1-0,1 micron diamonds or alumina |
| FEDO-6J | 39-015-250 | Ø 250 mm, for 6 micron diamonds |
| FEDO-3 | 39-025-250 | Ø 250 mm, for 3 micron diamonds |
| FEDO-1S | 39-066-250 | Ø 250 mm, for 1 micron diamonds |
| FEDO-1N | 39-055-250 | Ø 250 mm, for 0,25 micron diamonds |
| ALSO | 39-075-250 | Ø 250 mm, for 0,25 mic. diamonds or alumina |
| WOOL | 39-095-250 | Ø 250 mm, %100 wool cloth for 6-3 micron diamonds or alumina |
| COLLO | 39-085-250 | Ø 250 mm, for colloidal silica |
| PETRI | 39-090-250 | Ø 250 mm, for petrography |
| NOWO | 39-005-250 | Ø 250 mm, for 9-1 micron diamonds |
| MIX | 39-250-SPC | Ø 250 mm, (1 of each METAPO-P, METAPO-B, FEDO-3, FEDO-1S, FEDO-1N) |
| METAPO-P | 39-013-300 | Ø 300 mm, for 6 micron diamonds |
| METAPO-B | 39-033-300 | Ø 300 mm, for 3-1 micron diamonds |
| METAPO-V | 39-043-300 | Ø 300 mm, for 1-0,1 micron diamonds or alumina |
| FEDO-6J | 39-015-300 | Ø 300 mm, for 6 micron diamonds |
| FEDO-3 | 39-025-300 | Ø 300 mm, for 3 micron diamonds |
| FEDO-1S | 39-066-300 | Ø 300 mm, for 1 micron diamonds |
| FEDO-1N | 39-055-300 | Ø 300 mm, for 0,25 micron diamonds |
| ALSO | 39-075-300 | Ø 300 mm, for 0,25 mic. diamonds or alumina |
| WOOL | 39-095-300 | Ø 300 mm, %100 wool cloth for 6-3 micron diamonds or alumina |
| COLLO | 39-085-300 | Ø 300 mm, for colloidal silica |
| PETRI | 39-090-300 | Ø 300 mm, for petrography |
| NOWO | 39-005-300 | Ø 300 mm, for 9-1 micron diamonds |
| MIX | 39-300-SPC | Ø 300 mm, (1 of each METAPO-P, METAPO-B, FEDO-3, FEDO-1S, FEDO-1N) |
| Diamond Pastes, Monocrystalline |  |  |
| DIAPAT-M | 39-301-M | Diamond Paste, 0.25 Mic., 10gr. syringe |
| DIAPAT-M | 39-311-M | Diamond Paste, 1 Mic., 10gr. syringe |
| DIAPAT-M | 39-321-M | Diamond Paste, 3 Mic., 10gr. syringe |
| DIAPAT-M | 39-331-M | Diamond Paste, 6 Mic., 10gr. syringe |
| DIAPAT-M | 39-341-M | Diamond Paste, 9 Mic., 10gr. syringe |
| Diamond Pastes, Polycrystalline |  |  |
| DIAPAT-P | 39-301-P | Diamond Paste, 0.25 Mic., 10gr. syringe |
| DIAPAT-P | 39-311-P | Diamond Paste, 1 Mic., 10gr. syringe |
| DIAPAT-P | 39-321-P | Diamond Paste, 3 Mic., 10gr. syringe |
| DIAPAT-P | 39-331-P | Diamond Paste, 6 Mic., 10gr. syringe |
| DIAPAT-P | 39-341-P | Diamond Paste, 9 Mic., 10gr. syringe |
| Diamond Suspensions, Monocrystalline |  |  |
| DIAPAT-M | 39-400-M | Diamond Suspension 0.25Mic. 250 ml, bottle with sprayer |
| DIAPAT-M | 39-410-M | Diamond Suspension1 Mic. 250 ml, bottle with sprayer |
| DIAPAT-M | 39-420-M | Diamond Suspension 3 Mic. 250 ml, bottle with sprayer |
| DIAPAT-M | 39-430-M | Diamond Suspension 6 Mic. 250 ml, bottle with sprayer |
| DIAPAT-M | 39-440-M | Diamond Suspension 9 Mic. 250 ml, bottle with sprayer |
| DIAPAT-M | 39-411-M | Diamond Suspension1 Mic. 1 lt bottle |
| DIAPAT-M | 39-421-M | Diamond Suspension 3 Mic. 1 lt bottle |
| DIAPAT-M | 39-431-M | Diamond Suspension 6 Mic. 1 lt bottle |
| DIAPAT-M | 39-415-M | Diamond Suspension1 Mic. 5 lt bottle |
| DIAPAT-M | 39-425-M | Diamond Suspension 3 Mic. 5 lt bottle |
| DIAPAT-M | 39-435-M | Diamond Suspension 6 Mic. 5 lt bottle |
| Diamond Suspensions, Polycrystalline |  |  |
| DIAPAT-P | 39-400-P | Diamond Suspension 0.25Mic. 250 ml, bottle with sprayer |
| DIAPAT-P | 39-410-P | Diamond Suspension1 Mic. 250 ml, bottle with sprayer |
| DIAPAT-P | 39-420-P | Diamond Suspension 3 Mic. 250 ml, bottle with sprayer |
| DIAPAT-P | 39-430-P | Diamond Suspension 6 Mic. 250 ml, bottle with sprayer |
| DIAPAT-P | 39-440-P | Diamond Suspension 9 Mic. 250 ml, bottle with sprayer |
| Diamond Two in One Products, Monocrystalline |  |  |
| DUOPAT-M | 39-510-M | A perfect mixture of 1 mic. Diamond suspension & Diamond Lubricant |
|  |  | 500 ml, bottle with sprayer |
| DUOPAT-M | 39-520-M | A perfect mixture of 3 mic. Diamond suspension & Diamond Lubricant |
|  |  | 500 ml, bottle with sprayer |
| DUOPAT-M | 39-530-M | A perfect mixture of 6 mic. Diamond suspension & Diamond Lubricant |
|  |  | 500 ml, bottle with sprayer |
| Diamond Lubricant |  |  |
| DIAPAT | 39-502 | Diamond Lubricant, Water-based, 1.0 lt, bottle |
| Alumina Suspensions |  |  |
| ALU-MIK | 39-200 | Alumina Suspension 0.05 Mic. 1.0 lt, bottle |
| ALU-MIK | 39-210 | Alumina Suspension 0.3 Mic. 1.0 lt, bottle |
| ALU-MIK | 39-220 | Alumina Suspension 1.0 Mic. 1.0 lt, bottle |
| Alumina Powder |  |  |
| ALU-MIK | 39-100 | Alumina Powder 0.05 Mic. 500gr. |
| ALU-MIK | 39-110 | Alumina Powder 0.3 Mic. 500gr. |
| ALU-MIK | 39-120 | Alumina Powder 1.0 Mic. 500gr. |
| Colloidal Silica |  |  |
| COL-K(NC) | 39-600 | Colloidal Silica (1 lt), bottle |

## Features

| Suitable for Ø200/Ø250/ Ø300 mm Wheels |  | Modular Configuration |  | Powerful Base Motor |
| --- | --- | --- | --- | --- |
| Heavy Robust Construction to Eliminate Vibrations |  | Automatic Disc Cleaning and Drying Feature |  | Smart Water Saving Feature |